#  Manhole Report

|  |  |  |  |
| --- | --- | --- | --- |
| Manhole ID | Watauga Green #4 |  | Date: 09/12/2016 |
| Depth  | 56” |  |  |
| Line size in  |  8”PVC  |  |  |
| Line size out | 8”PVC |  |  |
| Taps  | 6”PVC |  |  |
| Pictures numbers | 2625,2626,2627,2628 |  |  |
| Manhole material | Concrete |  |  |

Manhole condition : Good