# Manhole Report

|  |  |  |  |
| --- | --- | --- | --- |
| Manhole ID | Watauga Green #6 |  | Date: 09/12/2016 |
| Depth | 93” |  |  |
| Line size in | 8”PVC |  |  |
| Line size out | 8”PVC |  |  |
| Taps | No |  |  |
| Pictures numbers | 2633,2634,2635,2636 |  |  |
| Manhole material | Concrete |  |  |

Manhole condition : Good