#  Manhole Report

|  |  |  |  |
| --- | --- | --- | --- |
| Manhole ID | Watauga Green #7 |  | Date: 09/12/2016 |
| Depth  | 71” |  |  |
| Line size in  | 8”PVC  |  |  |
| Line size out | 8”PVC |  |  |
| Taps  | No |  |  |
| Pictures numbers | 2637,2638,2639,2640 |  |  |
| Manhole material | Concrete |  |  |

Manhole condition : Good