# Manhole Report

|  |  |  |  |
| --- | --- | --- | --- |
| Manhole ID | Watauga Green #8 |  | Date: 09/16/2016 |
| Depth | 80” |  |  |
| Line size in | 8”PVC |  |  |
| Line size out | 8”PVC |  |  |
| Taps | No |  |  |
| Pictures numbers | 2645,2646,2647,2648 |  |  |
| Manhole material | Concrete |  |  |

Manhole condition : Good