# Manhole Report

|  |  |  |  |
| --- | --- | --- | --- |
| Manhole ID | Watauga Green #9 |  | Date: 09/19/2016 |
| Depth | 80” |  |  |
| Line size in | 8”PVC |  |  |
| Line size out | 8”PVC |  |  |
| Taps | 8”PVC |  |  |
| Pictures numbers | 2654,2655,2656,2657 |  |  |
| Manhole material | Concrete |  |  |

Manhole condition : Good